Integrated Enclosure

A. The enclosure shall contain the Toshiba AS3 power unit, Compact Fusible Switch, and/or AC line reactor in Nema 1 enclosure.

B. The enclosure shall be designed to incorporate the following options:

I. CFS, J Series Fuses

II. Door mounted disconnect handle, Magnehelic differential pressure indicating        transmitter, On/Off switch, Advanced LCD keypad with capacitive touch wheel for navigating and programming

III. All ratings include DC link reactor

IV. AC line reactor (optional)

C. The enclosure shall be available for the following ratings:

I. 230V – 1 to 100hp

II. 460V – 1 to 500hp

D. The maximum Short Circuit Current Rating of the enclosure shall be 50kA

E. Input fuses shall be included for all 230V and 460V enclosures

# Text boxes

1846 Berkshire Lane, Plymouth, MN 55441

(763) 577-0102 • FAX: (763) 577-3799 • www.glacier-technology.com